## Manual Backup
Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark | Responsibility
ASN 1620LM | NA | SMW4 | SLTE | Manually backup SLTE data | High | 01.01.2026 | 31.01.2026 | Monthly | CMB CLS

## Rectifier Battery
Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark | Responsibility
Battery & Rectifier | CEN | SMW4 | Battery | Check Rectifier Battery Voltages | High | 01.01.2026 | 02.01.2026 | Daily | CMB CLS
Battery & Rectifier | CEN | DSCN | Battery | Check Rectifier Battery Voltages | High | 01.01.2026 | 02.01.2026 | Daily | CMB CLS

## Filter Cleaning
Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark | Responsibility
ASN 1620LM | CEN | SMW4 | SLTE | Dust filters cleaning/replacement | High | 01.01.2026 | 31.03.2026 | Every three months | CMB CLS
Protection grids cleaning
LOFA front panel cleaning
EMPM cover detector cleaning
Ciena 6500 | CEN | SMW4 | SLTE | Air filter cleaning | High | 01.01.2026 | 31.12.2026 | As adviced by SMW4 MNOC | CMB CLS
ciena CN5430 | CEN | SMW4 | SIE | Air filter cleaning | High | 01.01.2026 | 31.03.2026 | Every three months | CMB CLS
Optix OSN8800 | CEN | DSCN | SLTE | Check the fan tray assembly and clean the air filter | High | 01.01.2026 | 31.03.2026 | Every three months | CMB CLS

## Power supply and Grounding
Task | Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark | Responsibility
SMW4 Daily | FUJITSU PFE | CEN | SMW4 | PFE | Feeding current and voltage check | High | 01.01. 2026 | 02.01.2026 | Daily | CMB CLS
| FUJITSU PFE | CEN | SMW4 | PFE | Earth current and voltage check | High | 01.01. 2026 | 31.01.2026 | Daily | CMB CLS
DSCN Daily | NEC NPW1000 | CEN | DSCN | PFE | Current, voltage, CONV voltage, alarms & AC unit readings | High | 01.01. 2026 | 02.01.2026 | Daily | CMB CLS
| NEC NPW1000 | CEN | DSCN | PFE | Earth current and voltage check | High | 01.01. 2026 | 31.01.2026 | Daily | CMB CLS
SMW4 Monthly | FUJITSU PFE | CEN | SMW4 | PFE | Supply Voltage check | High | 01.01. 2026 | 31.01.2026 | Monthly | CMB CLS
DSCN Monthly | NEC NPW1000 | CEN | DSCN | PFE | Supply voltage check | High | 01.01. 2026 | 31.01.2026 | Monthly | CMB CLS
SMW4 Every three months | ASN 1620LM | CEN | SMW4 | SLTE | Power cables check | High | 01.01. 2026 | 31.03.2026 | Every three months | CMB CLS
DSCN Every three months | NEC NPW1000 | CEN | DSCN | PFE | Alarm circuit test check | High | 01.01. 2026 | 31.03.2026 | Every three months | CMB CLS
| NEC NPW1000 | CEN | DSCN | PFE | C/V SENS unit performance test | High | 01.01. 2026 | 31.03.2026 | Every three months | CMB CLS
| NEC NPW1000 | CEN | DSCN | PFE | CONV unit (VCON) balance check | High | 01.01. 2026 | 31.03.2026 | Every three months | CMB CLS
| Optix OSN8800 | CEN | DSCN | PFE | Check grounding cable and power cable | High | 01.01. 2026 | 31.03.2026 | Every three months | CMB CLS