## Manual Backup
Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark
ASN 1620LM | NA | SMW4 | SLTE | Manually backup SLTE data | High | 01.01.2025 | 31.12.2025 | Monthly

## Rectifier Battery
Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark
Battery & Rectifier | CEN | SMW4 | Battery | Check Rectifier Battery Voltages | High | 01.01.2025 | 31.12.2025 | Daily
Battery & Rectifier | CEN | DSCN | Battery | Check Rectifier Battery Voltages | High | 01.01.2026 | 31.12.2026 | Daily

## Filter Cleaning
Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark
ASN 1620LM | CEN | SMW4 | SLTE | Dust filters cleaning/replacement | High | 01.01.2025 | 31.12.2025 | Every three months
Protection grids cleaning
LOFA front panel cleaning
EMPM cover detector cleaning
Ciena 6500 | CEN | SMW4 | SLTE | Air filter cleaning | High | 01.01.2025 | 31.12.2025 | As adviced by SMW4 MNOC
ciena CN5430 | CEN | SMW4 | SIE | Air filter cleaning | High | 01.01.2025 | 31.12.2025 | Every three months
Optix OSN8800 | CEN | DSCN | SLTE | Check the fan tray assembly and clean the air filter | High | 01.01.2025 | 31.12.2025 | Every three months

## Power supply and Grounding
Node_Name | LEA | Platform | Type | Task | Priority | Start_Date | End_Date | Remark
FUJITSU PFE | CEN | SMW4 | PFE | 1. Feeding current and voltage check 2. Earth current and voltage check 3. Supply voltage check | High | 01.01. 2025 | 31.12.2025 | 1. Daily 2. Daily 3. Monthly
ASN 1620LM | CEN | SMW4 | SLTE | Power cables check | High | 01.01.2025 | 31.12.2025 | Every three months
NEC NPW1000 | CEN | DSCN | PFE | 1. Current, voltage, CONV voltage, alarms & AC unit readings 2. Earth current and voltage check 3. Supply voltage check 4. Alarm circuit test check 5. C/V SENS unit performance test 6. CONV unit (VCON) balance check | High | 01.01.2025 | 31.12.2025 | 1. Daily 2. Daily 3. Monthly 4. Every three months 5. Every three months 6. Every three months
Optix OSN8800 | CEN | DSCN | PFE | 1. Check grounding cable and power cable | High | 01.01. 2025 | 31.12.2025 | 1. Every three months