## Routine Maintenance Actvities
Section | platform | Routine maintenance activity | Carried out frequency (Daily/weekly/twice a week/monthly…etc) | Remarks | Jan 2024 Sheduled | Jan 2024 Completed | Feb 2024 Sheduled | Feb 2024 Completed | Mar 2024 Sheduled | Mar 2024 Completed | Apr 2024 Sheduled | Apr 2024 Completed | May 2024 Sheduled | May 2024 Completed | Jun 2024 Sheduled | Jun 2024 Completed | Jul 2024 Sheduled | Jul 2024 Completed | Aug 2024 Sheduled | Aug 2024 Completed | Sep 2043 Sheduled | Sep 2024 Completed | Oct 2024 Sheduled | Oct 2024 Completed | Nov 2024 Sheduled | Nov 2024 Completed | Dec 2024 Sheduled | Dec 2024 Completed
SMW4 | SLTE 1620LM | Protection grids cleaning | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | Dust filters (if any) replacement | Every three months |  | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
|  | LOFA front panel cleaning | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | Power cables check | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | DB backup | Every months |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
|  | EMPM cover detector cleaning | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
| PFE | Feeding current and voltage check | Daily |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
|  | Earth current and voltage check | Daily |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
|  | Supply voltage check | Every months |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
| MELCO | DB backup | Every months |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
| Battery & Rectifier | PFE current & voltage readings | Daily |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
| Ciena SLTE6500 | Air filter cleaning | As adviced by SMW4 MNOC
| ciena SIE CN5430 | Air filter cleaning | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
| SMW4 Colombo Shoreend | Visual Inspection | weekly
| SMW4 Colombo Shoreend | Video Inspection | Annually
DSCN | Optix OSN8800 | Check the fan tray assembly and clean the air filter | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | Check grounding cable and power cable | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
| PFE NPW1000 | Feeding current and voltage check | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | Earth current and voltage check | Every months |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
|  | Supply voltage check | Every months |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
|  | Alarm circuit test | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | C/V SENS unit performance test | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | CONV unit (VCON) balance check | Every three months |  | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO | NO | NO | YES | YES | NO | NO
|  | Feeding current and voltage check | Daily |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
|  | Earth current and voltage check | Daily |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
| Battery & Rectifier | PFE current & voltage readings | Daily |  | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES
| DSCN Colombo Shoreend | Visual Inspection | weekly
| DSCN Colombo Shoreend | Video Inspection | Annually